## circuits
id | name | panel | floor | kind | base_kw | breaker_kw | on_backup | must_keep | value
C-FIRE | Fire alarm & exit lighting | EP-G | 0 | fire | 4 | 10 | TRUE | TRUE | 0
C-ER | Emergency / casualty | EP-G | 0 | ER | 18 | 40 | TRUE | FALSE | 30
C-OPD | OPD block | DB-G | 0 | opd | 20 | 40 | TRUE | FALSE | 3
C-ADM | Admin offices (AC) | DB-G | 0 | admin | 30 | 50 | TRUE | FALSE | 1
C-KIT | Kitchen | DB-G | 0 | kitchen | 35 | 50 | TRUE | FALSE | 4
C-LAU | Laundry | DB-G | 0 | laundry | 40 | 60 | TRUE | FALSE | 1
C-CT | CT scan & X-ray | DB-G | 0 | radiology | 60 | 100 | TRUE | FALSE | 6
C-MRI | MRI chiller | DB-G | 0 | radiology | 25 | 40 | TRUE | FALSE | 20
C-LAB | Laboratory analysers | EP-G | 0 | lab | 20 | 40 | TRUE | FALSE | 15
C-BB | Blood bank & pharmacy cold chain | EP-G | 0 | cold_chain | 6 | 16 | TRUE | FALSE | 40
C-DIA | Dialysis unit (RO plant) | EP-G | 0 | dialysis | 12 | 40 | TRUE | FALSE | 5
C-PMP | Water pumps | EP-G | 0 | pumps | 15 | 30 | TRUE | FALSE | 25
C-O2 | PSA oxygen plant | EP-G | 0 | oxygen | 30 | 50 | TRUE | FALSE | 60
C-LIFTA | Bed lift A | EP-G | 0 | lift | 15 | 25 | TRUE | FALSE | 0
C-LIFTB | Bed lift B | DB-G | 0 | lift | 15 | 25 | FALSE | FALSE | 0
C-OR1 | Operating theatre 1 | EP-1 | 1 | OR | 22 | 40 | TRUE | FALSE | 10
C-OR2 | Operating theatre 2 | EP-1 | 1 | OR | 22 | 40 | TRUE | FALSE | 10
C-OR3 | Operating theatre 3 | EP-1 | 1 | OR | 22 | 40 | TRUE | FALSE | 10
C-OR4 | Operating theatre 4 | EP-1 | 1 | OR | 22 | 40 | TRUE | FALSE | 10
C-ICUA | ICU bay A | EP-1 | 1 | ICU | 14 | 40 | TRUE | FALSE | 5
C-ICUB | ICU bay B | EP-1 | 1 | ICU | 14 | 40 | TRUE | FALSE | 5
C-NICU | NICU | EP-1 | 1 | NICU | 10 | 30 | TRUE | FALSE | 5
C-POP | Post-op ward | EP-1 | 1 | ward | 8 | 25 | TRUE | FALSE | 2
C-F1C | Floor 1 corridor & nurse station AC | DB-1 | 1 | corridor | 18 | 30 | TRUE | FALSE | 2
C-WMM | Male medical ward | DB-2 | 2 | ward | 8 | 25 | TRUE | FALSE | 2
C-WFM | Female medical ward | DB-2 | 2 | ward | 8 | 25 | TRUE | FALSE | 2
C-WSU | Surgical ward | DB-2 | 2 | ward | 8 | 25 | TRUE | FALSE | 2
C-F2C | Floor 2 corridor AC | DB-2 | 2 | corridor | 15 | 30 | TRUE | FALSE | 1
C-WPD | Paediatric ward | DB-3 | 3 | ward | 8 | 25 | TRUE | FALSE | 2
C-WMT | Maternity ward | DB-3 | 3 | ward | 8 | 25 | TRUE | FALSE | 2
C-WOR | Orthopaedic ward | DB-3 | 3 | ward | 8 | 25 | TRUE | FALSE | 2
C-WIS | Isolation ward | DB-3 | 3 | ward | 6 | 20 | FALSE | FALSE | 2
C-F3C | Floor 3 corridor AC | DB-3 | 3 | corridor | 15 | 30 | TRUE | FALSE | 1

## rooms
id | name | floor | type | beds | circuit_id | accepts | can_host_ventilator
R-ER | Casualty | 0 | ER | 10 | C-ER | adult;child;neonate | TRUE
R-DIA | Dialysis unit | 0 | dialysis | 6 | C-DIA | adult;child | FALSE
R-OR1 | OT 1 | 1 | OR | 1 | C-OR1 | adult;child;neonate | TRUE
R-OR2 | OT 2 | 1 | OR | 1 | C-OR2 | adult;child;neonate | TRUE
R-OR3 | OT 3 | 1 | OR | 1 | C-OR3 | adult;child;neonate | TRUE
R-OR4 | OT 4 | 1 | OR | 1 | C-OR4 | adult;child;neonate | TRUE
R-ICUA | ICU bay A | 1 | ICU | 6 | C-ICUA | adult;child | TRUE
R-ICUB | ICU bay B | 1 | ICU | 6 | C-ICUB | adult;child | TRUE
R-NICU | NICU | 1 | NICU | 10 | C-NICU | neonate | TRUE
R-POP | Post-op ward | 1 | ward | 10 | C-POP | adult;child | TRUE
R-WMM | Male medical ward | 2 | ward | 24 | C-WMM | adult | TRUE
R-WFM | Female medical ward | 2 | ward | 24 | C-WFM | adult | TRUE
R-WSU | Surgical ward | 2 | ward | 24 | C-WSU | adult | TRUE
R-WPD | Paediatric ward | 3 | ward | 24 | C-WPD | child | TRUE
R-WMT | Maternity ward | 3 | ward | 24 | C-WMT | adult;neonate | FALSE
R-WOR | Orthopaedic ward | 3 | ward | 24 | C-WOR | adult | TRUE
R-WIS | Isolation ward | 3 | ward | 8 | C-WIS | adult;child | TRUE

## patients
id | name | age_group | room_id | devices | battery_min | in_surgery
P001 | Pooja Iyer | adult | R-ER | monitor;o2_concentrator |  | FALSE
P002 | Deepa Shetty | adult | R-ER | monitor;o2_concentrator |  | FALSE
P003 | Lakshmi Singh | adult | R-ER | monitor |  | FALSE
P004 | Divya Sharma | adult | R-ER | monitor;ventilator | 0 | FALSE
P005 | Imran Khan | adult | R-ER | monitor |  | FALSE
P006 | Karthik Gupta | adult | R-ER | none |  | FALSE
P007 | Sneha Shetty | adult | R-ER | none |  | FALSE
P008 | Divya Patel | adult | R-ER | monitor |  | FALSE
P009 | Vijay Joshi | adult | R-ER | monitor |  | FALSE
P010 | Deepa Patel | adult | R-DIA | dialysis;monitor |  | FALSE
P011 | Priya Reddy | adult | R-DIA | dialysis;monitor |  | FALSE
P012 | Vijay Pillai | adult | R-DIA | dialysis |  | FALSE
P013 | Rahul Reddy | adult | R-DIA | dialysis |  | FALSE
P014 | Mary Reddy | adult | R-DIA | dialysis;monitor |  | FALSE
P015 | Anitha Menon | adult | R-ICUA | monitor |  | FALSE
P016 | Sanjay Khan | adult | R-ICUA | ventilator;monitor;inotrope_pump | 30 | FALSE
P017 | Suresh Nair | adult | R-ICUA | ventilator;monitor;suction | 60 | FALSE
P018 | Manoj Singh | adult | R-ICUA | monitor |  | FALSE
P019 | Anitha Kumar | adult | R-ICUA | ventilator;monitor;inotrope_pump | 45 | FALSE
P020 | Joseph Sharma | adult | R-ICUA | ventilator;monitor;inotrope_pump;suction | 60 | FALSE
P021 | Manoj Menon | adult | R-ICUB | monitor |  | FALSE
P022 | Vijay Sharma | adult | R-ICUB | ventilator;monitor;inotrope_pump | 30 | FALSE
P023 | Karthik Menon | adult | R-ICUB | ventilator;monitor | 0 | FALSE
P024 | Sneha Verma | adult | R-ICUB | ventilator;monitor;inotrope_pump;suction | 45 | FALSE
P025 | Aarav Das | adult | R-ICUB | ventilator;monitor | 60 | FALSE
P026 | Ravi Rao | child | R-ICUB | ventilator;monitor;suction | 60 | FALSE
P027 | Baby of Divya | neonate | R-NICU | incubator;monitor |  | FALSE
P028 | Baby of Divya | neonate | R-NICU | incubator;monitor |  | FALSE
P029 | Baby of Karthik | neonate | R-NICU | incubator;monitor |  | FALSE
P030 | Baby of Divya | neonate | R-NICU | incubator;monitor |  | FALSE
P031 | Baby of Aarav | neonate | R-NICU | incubator;monitor |  | FALSE
P032 | Baby of Fatima | neonate | R-NICU | incubator;monitor |  | FALSE
P033 | Baby of Kavya | neonate | R-NICU | incubator |  | FALSE
P034 | Baby of Divya | neonate | R-NICU | incubator;monitor |  | FALSE
P035 | Baby of Fatima | neonate | R-NICU | incubator;monitor |  | FALSE
P036 | Baby of Nandini | neonate | R-NICU | incubator;monitor |  | FALSE
P037 | Harish Das | adult | R-POP | none |  | FALSE
P038 | Nandini Menon | adult | R-POP | none |  | FALSE
P039 | Arjun Kumar | adult | R-POP | monitor |  | FALSE
P040 | Fatima Verma | adult | R-POP | none |  | FALSE
P041 | Aarav Iyer | adult | R-POP | none |  | FALSE
P042 | Karthik Kumar | adult | R-POP | none |  | FALSE
P043 | Suresh Shetty | adult | R-POP | none |  | FALSE
P044 | Mary Shetty | adult | R-POP | o2_concentrator |  | FALSE
P045 | Ganesh Kumar | adult | R-POP | none |  | FALSE
P046 | Arjun Patel | adult | R-WMM | none |  | FALSE
P047 | Mary Verma | adult | R-WMM | ventilator;monitor | 30 | FALSE
P048 | Suresh Sharma | adult | R-WMM | none |  | FALSE
P049 | Ravi Joshi | adult | R-WMM | none |  | FALSE
P050 | Suresh Joshi | adult | R-WMM | none |  | FALSE
P051 | Ganesh Rao | adult | R-WMM | none |  | FALSE
P052 | Deepa Iyer | adult | R-WMM | none |  | FALSE
P053 | Karthik Khan | adult | R-WMM | none |  | FALSE
P054 | Mary Gupta | adult | R-WMM | none |  | FALSE
P055 | Lakshmi Menon | adult | R-WMM | none |  | FALSE
P056 | Harish Shetty | adult | R-WMM | none |  | FALSE
P057 | Ravi Gupta | adult | R-WMM | none |  | FALSE
P058 | Vijay Khan | adult | R-WMM | suction |  | FALSE
P059 | Lakshmi Reddy | adult | R-WMM | o2_concentrator |  | FALSE
P060 | Arjun Shetty | adult | R-WMM | o2_concentrator |  | FALSE
P061 | Pooja Verma | adult | R-WMM | none |  | FALSE
P062 | Deepa Reddy | adult | R-WMM | o2_concentrator;monitor |  | FALSE
P063 | Fatima Singh | adult | R-WMM | o2_concentrator;monitor |  | FALSE
P064 | Pooja Shetty | adult | R-WMM | none |  | FALSE
P065 | Divya Iyer | adult | R-WMM | none |  | FALSE
P066 | Joseph Khan | adult | R-WMM | none |  | FALSE
P067 | Suresh Gupta | adult | R-WMM | none |  | FALSE
P068 | Ganesh Das | adult | R-WFM | monitor;suction |  | FALSE
P069 | Joseph Shetty | adult | R-WFM | none |  | FALSE
P070 | Anitha Das | adult | R-WFM | none |  | FALSE
P071 | Joseph Nair | adult | R-WFM | none |  | FALSE
P072 | Ravi Rao | adult | R-WFM | monitor |  | FALSE
P073 | Ganesh Khan | adult | R-WFM | o2_concentrator |  | FALSE
P074 | Suresh Joshi | adult | R-WFM | monitor |  | FALSE
P075 | Vijay Singh | adult | R-WFM | none |  | FALSE
P076 | Vijay Menon | adult | R-WFM | none |  | FALSE
P077 | Sanjay Kumar | adult | R-WFM | none |  | FALSE
P078 | Manoj Kumar | adult | R-WFM | none |  | FALSE
P079 | Sanjay Nair | adult | R-WFM | monitor |  | FALSE
P080 | Vijay Verma | adult | R-WFM | none |  | FALSE
P081 | Harish Shetty | adult | R-WFM | none |  | FALSE
P082 | Ganesh Kumar | adult | R-WFM | none |  | FALSE
P083 | Harish Singh | adult | R-WFM | none |  | FALSE
P084 | Manoj Joshi | adult | R-WFM | o2_concentrator |  | FALSE
P085 | Sneha Rao | adult | R-WFM | none |  | FALSE
P086 | Pooja Reddy | adult | R-WFM | none |  | FALSE
P087 | Ravi Rao | adult | R-WFM | o2_concentrator |  | FALSE
P088 | Rahul Verma | adult | R-WFM | none |  | FALSE
P089 | Priya Das | adult | R-WFM | o2_concentrator |  | FALSE
P090 | Anitha Nair | adult | R-WSU | none |  | FALSE
P091 | Harish Das | adult | R-WSU | o2_concentrator |  | FALSE
P092 | Rahul Iyer | adult | R-WSU | none |  | FALSE
P093 | Sneha Kumar | adult | R-WSU | none |  | FALSE
P094 | Suresh Menon | adult | R-WSU | o2_concentrator |  | FALSE
P095 | Arjun Rao | adult | R-WSU | none |  | FALSE
P096 | Lakshmi Gupta | adult | R-WSU | none |  | FALSE
P097 | Aarav Verma | adult | R-WSU | suction |  | FALSE
P098 | Manoj Pillai | adult | R-WSU | none |  | FALSE
P099 | Manoj Iyer | adult | R-WSU | none |  | FALSE
P100 | Suresh Gupta | adult | R-WSU | monitor |  | FALSE
P101 | Deepa Rao | adult | R-WSU | none |  | FALSE
P102 | Joseph Nair | adult | R-WSU | monitor |  | FALSE
P103 | Kavya Shetty | adult | R-WSU | none |  | FALSE
P104 | Pooja Das | adult | R-WSU | none |  | FALSE
P105 | Sanjay Nair | adult | R-WSU | o2_concentrator |  | FALSE
P106 | Arjun Patel | adult | R-WSU | monitor |  | FALSE
P107 | Joseph Rao | adult | R-WSU | none |  | FALSE
P108 | Lakshmi Patel | adult | R-WSU | none |  | FALSE
P109 | Pooja Singh | adult | R-WSU | o2_concentrator |  | FALSE
P110 | Pooja Das | adult | R-WSU | none |  | FALSE
P111 | Kavya Rao | adult | R-WSU | none |  | FALSE
P112 | Deepa Menon | child | R-WPD | suction |  | FALSE
P113 | Vijay Sharma | child | R-WPD | none |  | FALSE
P114 | Mary Das | child | R-WPD | none |  | FALSE
P115 | Joseph Joshi | child | R-WPD | o2_concentrator |  | FALSE
P116 | Aarav Nair | child | R-WPD | none |  | FALSE
P117 | Sneha Verma | child | R-WPD | o2_concentrator |  | FALSE
P118 | Ganesh Joshi | child | R-WPD | o2_concentrator |  | FALSE
P119 | Arjun Nair | child | R-WPD | none |  | FALSE
P120 | Revathi Joshi | child | R-WPD | none |  | FALSE
P121 | Arjun Singh | child | R-WPD | o2_concentrator;suction |  | FALSE
P122 | Arjun Rao | child | R-WPD | monitor |  | FALSE
P123 | Lakshmi Reddy | child | R-WPD | none |  | FALSE
P124 | Suresh Singh | child | R-WPD | none |  | FALSE
P125 | Rahul Rao | child | R-WPD | monitor |  | FALSE
P126 | Sneha Singh | child | R-WPD | none |  | FALSE
P127 | Joseph Khan | child | R-WPD | monitor |  | FALSE
P128 | Joseph Shetty | child | R-WPD | o2_concentrator |  | FALSE
P129 | Kavya Singh | child | R-WPD | o2_concentrator |  | FALSE
P130 | Kavya Menon | child | R-WPD | none |  | FALSE
P131 | Ganesh Reddy | child | R-WPD | none |  | FALSE
P132 | Karthik Singh | child | R-WPD | none |  | FALSE
P133 | Lakshmi Verma | child | R-WPD | none |  | FALSE
P134 | Fatima Nair | adult | R-WMT | none |  | FALSE
P135 | Harish Sharma | adult | R-WMT | o2_concentrator |  | FALSE
P136 | Baby of Rahul | neonate | R-WMT | none |  | FALSE
P137 | Vijay Das | adult | R-WMT | none |  | FALSE
P138 | Baby of Ganesh | neonate | R-WMT | none |  | FALSE
P139 | Vijay Joshi | adult | R-WMT | none |  | FALSE
P140 | Baby of Aarav | neonate | R-WMT | none |  | FALSE
P141 | Baby of Ravi | neonate | R-WMT | none |  | FALSE
P142 | Kavya Khan | adult | R-WMT | none |  | FALSE
P143 | Rahul Das | adult | R-WMT | o2_concentrator |  | FALSE
P144 | Joseph Menon | adult | R-WMT | none |  | FALSE
P145 | Baby of Priya | neonate | R-WMT | none |  | FALSE
P146 | Fatima Pillai | adult | R-WMT | o2_concentrator |  | FALSE
P147 | Harish Pillai | adult | R-WMT | monitor |  | FALSE
P148 | Ravi Kumar | adult | R-WMT | none |  | FALSE
P149 | Nandini Rao | adult | R-WMT | none |  | FALSE
P150 | Revathi Khan | adult | R-WMT | suction |  | FALSE
P151 | Kavya Reddy | adult | R-WMT | none |  | FALSE
P152 | Sneha Pillai | adult | R-WMT | none |  | FALSE
P153 | Baby of Deepa | neonate | R-WMT | none |  | FALSE
P154 | Sneha Joshi | adult | R-WMT | monitor |  | FALSE
P155 | Baby of Arjun | neonate | R-WMT | none |  | FALSE
P156 | Sanjay Iyer | adult | R-WOR | none |  | FALSE
P157 | Suresh Rao | adult | R-WOR | none |  | FALSE
P158 | Imran Das | adult | R-WOR | none |  | FALSE
P159 | Divya Iyer | adult | R-WOR | none |  | FALSE
P160 | Divya Joshi | adult | R-WOR | none |  | FALSE
P161 | Karthik Das | adult | R-WOR | o2_concentrator |  | FALSE
P162 | Suresh Kumar | adult | R-WOR | none |  | FALSE
P163 | Kavya Pillai | adult | R-WOR | none |  | FALSE
P164 | Joseph Das | adult | R-WOR | none |  | FALSE
P165 | Fatima Khan | adult | R-WOR | none |  | FALSE
P166 | Deepa Iyer | adult | R-WOR | o2_concentrator |  | FALSE
P167 | Joseph Patel | adult | R-WOR | none |  | FALSE
P168 | Deepa Sharma | adult | R-WOR | none |  | FALSE
P169 | Sanjay Gupta | adult | R-WOR | none |  | FALSE
P170 | Deepa Patel | adult | R-WOR | none |  | FALSE
P171 | Rahul Patel | adult | R-WOR | none |  | FALSE
P172 | Manoj Reddy | adult | R-WOR | o2_concentrator |  | FALSE
P173 | Kavya Khan | adult | R-WOR | none |  | FALSE
P174 | Sanjay Das | adult | R-WOR | monitor |  | FALSE
P175 | Vijay Sharma | adult | R-WOR | monitor |  | FALSE
P176 | Harish Patel | adult | R-WOR | monitor |  | FALSE
P177 | Karthik Verma | adult | R-WOR | none |  | FALSE
P178 | Manoj Gupta | adult | R-WIS | none |  | FALSE
P179 | Priya Sharma | adult | R-WIS | none |  | FALSE
P180 | Joseph Khan | adult | R-WIS | none |  | FALSE
P181 | Kavya Joshi | adult | R-WIS | none |  | FALSE
P182 | Rahul Singh | adult | R-WIS | monitor |  | FALSE
P183 | Nandini Verma | adult | R-WIS | ventilator;monitor | 30 | FALSE
P184 | Nandini Joshi | adult | R-WIS | o2_concentrator |  | FALSE
P185 | Priya Menon | adult | R-OR1 | ventilator;monitor;suction | 30 | TRUE
P186 | Nandini Patel | adult | R-OR4 | ventilator;monitor;suction | 45 | TRUE

## surgeries
id | or_room_id | status | patient_id | procedure | expected_end_min
S1 | R-OR1 | in_progress | P185 | Hernia repair | 60
S2 | R-OR2 | scheduled |  | Caesarean section | 240
S3 | R-OR3 | scheduled |  | Hernia repair | 120
S4 | R-OR4 | in_progress | P186 | Laparotomy | 60

## generator
key | value
rated_kw | 300
fuel_l | 800
tank_l | 1000
expected_outage_h | 8
refuel_eta_h | 12
diesel_price | 90
co2_per_l | 2.68